## Bid Worksheet
| BID # 08-19-018 | SQ FT | 16580 |  | SQ FT cost | 25.3808
Bid Worksheet: Federal Reserve
This estimate is based on the electrical drawing #E- Mechanical architectural drawings if included were used as reference only.
Addendums # were considered.
All but the grey shaded cells can be edited to fit your needs
Any material cost or labor units can be adjusted to fit your needs. See the "Instruction Tab" for more detailed information.
Bulk Materials
| Description | Quantity | Trade Price | Unit | Labor | Unit | Total Material | Total Hours | Vendor
1 | Fixture L1-4 | 17 | 37.77 | C | 2.5 | C | 6.4209 | 0.425
2 | Fixture L1-8 | 32 | 37.77 | C | 2.5 | C | 12.0864 | 0.8
3 | Fixture L1-12 | 5 | 0 | E | 1.5 | E | 0 | 7.5
4 | Fixture L1-16 | 10 | 0 | E | 2 | E | 0 | 20
5 | Fixture L1-20 | 10 | 0 | E | 2.25 | E | 0 | 22.5
6 | Fixture L1-24 | 4 | 0 | E | 2.5 | E | 0 | 10
7 | Fixture L2-4 | 1 | 37.77 | C | 2.5 | C | 0.3777 | 0.025
8 | Fixture L2-8 | 1 | 37.77 | C | 2.5 | C | 0.3777 | 0.025
9 | Fixture L3 | 11 | 0 | E | 0.35 | E | 0 | 3.85
10 | Fixture L4 | 165 | 0 | E | 0.6 | E | 0 | 99
11 | Fixture L6 | 4 | 0 | E | 0.6 | E | 0 | 2.4
12 | Fixture L8 | 7 | 0 | E | 0.6 | E | 0 | 4.2
13 | Fixture L9 | 17 | 0 | E | 0.6 | E | 0 | 10.2
14 | Fixture D1 | 10 | 0 | E | 1 | E | 0 | 10
15 | Fixture D2 | 1 | 0 | E | 1 | E | 0 | 1
16 | Fixture D4 | 9 | 0 | E | 1 | E | 0 | 9
17 | Fixture C | 2 | 0 | E | 0.35 | E | 0 | 0.7
18 | Fixture L1 | 4 | 0 | E | 0.6 | E | 0 | 2.4
19 | Panel L2C | 1 | 0 | E | 3 | E | 0 | 3
20 | Panel P2C | 1 | 0 | E | 4.5 | E | 0 | 4.5
21 | Panel P2C1 | 1 | 0 | E | 2.5 | E | 0 | 2.5
22 | Panel P2E1 | 1 | 0 | E | 4 | E | 0 | 4
23 | Panel UPSP2C | 1 | 0 | E | 4.5 | E | 0 | 4.5
24 | Panel L2 DP | 1 | 0 | E | 7 | E | 0 | 7
25 | New Main Breaker 400A 480V | 1 | 0 | E | 3.5 | E | 0 | 3.5
26 | Panel L2E | 1 | 0 | E | 3 | E | 0 | 3
27 | Transformer TP2E | 1 | 0 | E | 22 | E | 0 | 22
28 | Panel P2E | 1 | 0 | E | 7 | E | 0 | 7
29 | Panel EP2E | 1 | 0 | E | 4.5 | E | 0 | 4.5
30 | Panel EL2E | 1 | 0 | E | 3 | E | 0 | 3
31 | Panel UPS-P2E | 1 | 0 | E | 5.5 | E | 0 | 5.5
32 | 1/2" CONDUIT - EMT | 5811 | 40.56 | C | 2.78 | C | 2356.9416 | 161.5458
33 | 3/4" CONDUIT - EMT | 3460 | 71.87 | C | 3.2 | C | 2486.702 | 110.72
34 | 1" CONDUIT - EMT | 3290 | 123.6 | C | 4.05 | C | 4066.44 | 133.245
35 | 1 1/4" CONDUIT - EMT | 460 | 200.62 | C | 4.7 | C | 922.852 | 21.62
36 | 2 1/2" CONDUIT - EMT | 540 | 438.45 | C | 8.3 | C | 2367.63 | 44.82
37 | 4" CONDUIT - EMT | 100 | 751.12 | C | 13.7 | C | 751.12 | 13.7
38 | 3/4" CONDUIT - EMT - RED FIRE ALARM | 1100 | 0.6 | E | 3.2 | C | 660 | 35.2
39 | 1 1/4" ELBOW 90 DEG - EMT | 7 | 361.17 | C | 30 | C | 25.2819 | 2.1
40 | 2 1/2" ELBOW 90 DEG - EMT | 4 | 1471.83 | C | 50 | C | 58.8732 | 2
41 | 4 x 36" RAD ELBOW 90 DEG - EMT | 2 | 441.22 | E | 80 | C | 882.44 | 1.6
42 | 1/2" CONN SS STL - EMT | 568 | 18.83 | C | 8 | C | 106.9544 | 45.44
43 | 3/4" CONN SS STL - EMT | 526 | 31.06 | C | 10 | C | 163.3756 | 52.6
44 | 1" CONN SS STL - EMT | 464 | 59.47 | C | 12 | C | 275.9408 | 55.68
45 | 1 1/4" CONN SS STL - EMT | 6 | 137.23 | C | 14 | C | 8.2338 | 0.84
46 | 2 1/2" CONN SS STL - EMT | 4 | 969.35 | C | 24 | C | 38.774 | 0.96
47 | 1/2" COUPLING SS STL - EMT | 581 | 20.16 | C | 3.2 | C | 117.1296 | 18.592
48 | 3/4" COUPLING SS STL - EMT | 388 | 31.16 | C | 4 | C | 120.9008 | 15.52
49 | 1" COUPLING SS STL - EMT | 248 | 58.97 | C | 5 | C | 146.2456 | 12.4
50 | 1 1/4" COUPLING SS STL - EMT | 41 | 160.85 | C | 6.5 | C | 65.9485 | 2.665
51 | 2 1/2" COUPLING SS STL - EMT | 62 | 804.35 | C | 11 | C | 498.697 | 6.82
52 | 1 1/4" CONN COMP STL - EMT | 11 | 134.57 | C | 18.2 | C | 14.8027 | 2.002
53 | 2 1/2" CONN COMP STL - EMT | 4 | 664.26 | C | 31.2 | C | 26.5704 | 1.248
54 | 4" CONN COMP STL - EMT | 2 | 889.8 | C | 46.8 | C | 17.796 | 0.936
55 | 1 1/4" COUPLING COMP STL - EMT | 8 | 269.37 | C | 14 | C | 21.5496 | 1.12
56 | 4" COUPLING COMP STL - EMT | 4 | 1580.26 | C | 42 | C | 63.2104 | 1.68
57 | 1 1/4" TYPE LB STD CONDUIT BODY - EMT - ALUM | 2 | 1693.78 | C | 0.7 | E | 33.8756 | 1.4
58 | 2 1/2" TYPE LB STD CONDUIT BODY - EMT - ALUM | 2 | 7574.33 | C | 1.8 | E | 151.4866 | 3.6
59 | 3/4" INSULATING BUSHING - EMT | 136 | 0.26 | E | 4 | C | 35.36 | 5.44
60 | 3/4x CLOSE NIPPLE - RMC - GALV | 21 | 89.78 | C | 19.5 | C | 18.8538 | 4.095
61 | 1 1/4x 12" NIPPLE - RMC - GALV | 1 | 930.06 | C | 26 | C | 9.3006 | 0.26
62 | 2 1/2x 12" NIPPLE - RMC - GALV | 2 | 2382.23 | C | 53 | C | 47.6446 | 1.06
63 | 1 1/4" CONN THRD HUB INSUL W/ GRD LUG - MALL STG4 | 2 | 2815.65 | C | 37.6 | C | 56.313 | 0.752
64 | 2 1/2" CONN THRD HUB INSUL W/ GRD LUG - MALL STG7 | 4 | 6477.02 | C | 61 | C | 259.0808 | 2.44
65 | 3/4" LOCKNUT - STEEL | 4 | 21.6 | C | 2.3 | C | 0.864 | 0.092
66 | 1" LOCKNUT - STEEL | 20 | 0.78 | E | 3.1 | C | 15.6 | 0.62
67 | 1 1/4" LOCKNUT - STEEL | 20 | 55.47 | C | 4.65 | C | 11.094 | 0.93
68 | 4" BUSHING - PLASTIC | 2 | 165.53 | C | 10.8 | C | 3.3106 | 0.216
69 | 3/4" 1-H STRAP - RMC - STEEL | 124 | 0.26 | E | 5.4 | C | 32.24 | 6.696
70 | 1" 1-H STRAP - RMC - STEEL | 30 | 0.32 | E | 5.9 | C | 9.6 | 1.77
71 | 1 1/4" 1-H STRAP - RMC - STEEL | 30 | 0.84 | E | 7 | C | 25.2 | 2.1
72 | 1/2" 1-H STRAP - EMT - STEEL | 1182 | 12 | C | 4.9 | C | 141.84 | 57.918
73 | 3/4" 1-H STRAP - EMT - STEEL | 596 | 14.85 | C | 5.4 | C | 88.506 | 32.184
74 | 1" 1-H STRAP - EMT - STEEL | 275 | 24.48 | C | 5.9 | C | 67.32 | 16.225
75 | 1 1/4" 1-H STRAP - EMT - STEEL | 34 | 59.49 | C | 7 | C | 20.2266 | 2.38
76 | 3/4" 2-PC CONDUIT STRUT CLAMP | 272 | 1.69 | E | 5.1 | C | 459.68 | 13.872
77 | 1 1/4" 2-PC CONDUIT STRUT CLAMP | 30 | 2.44 | E | 6.6 | C | 73.2 | 1.98
78 | 4" 2-PC CONDUIT STRUT CLAMP | 10 | 4.67 | E | 17 | C | 46.7 | 1.7
79 | 1/2" SPRING STL CONDUIT CLAMP W/ BOLT | 84 | 0.48 | E | 5.5 | C | 40.32 | 4.62
80 | 1/2 OR 3/4" SNAP CLOSE CLIP - SIDE MNT TO MTL STUD SUPPORT | 42 | 1.44 | E | 7.2 | C | 60.48 | 3.024
81 | 3/4" FLEX - ALUMINUM | 45 | 62.71 | C | 3.9 | C | 28.2195 | 1.755
82 | 3/4" CONN FLEX DC SQUEEZE STRAIGHT | 30 | 80.41 | C | 10 | C | 24.123 | 3
83 | 3/4" FLEX - LIQUIDTIGHT METALLIC - GRAY | 69 | 68.93 | C | 4.95 | C | 47.5617 | 3.4155
84 | 2" FLEX - LIQUIDTIGHT METALLIC - GRAY | 4 | 274.32 | C | 15.8 | C | 10.9728 | 0.632
85 | 3" FLEX - LIQUIDTIGHT METALLIC - GRAY | 12 | 749.01 | C | 20.5 | C | 89.8812 | 2.46
86 | 3/4" CONN STRAIGHT - LIQUIDTIGHT DIECAST | 46 | 551.54 | C | 17 | C | 253.7084 | 7.82
87 | 2" CONN STRAIGHT - LIQUIDTIGHT DIECAST | 2 | 2265.86 | C | 30 | C | 45.3172 | 0.6
88 | 3" CONN STRAIGHT - LIQUIDTIGHT DIECAST | 6 | 12475.1 | C | 35 | C | 748.506 | 2.1
89 | 3/4" CONDUIT - PVC40 | 20 | 23.73 | C | 3.6 | C | 4.746 | 0.72
90 | 1" CONDUIT - PVC40 | 200 | 34.64 | C | 4.4 | C | 69.28 | 8.8
91 | 1 1/4" CONDUIT - PVC40 | 200 | 49.94 | C | 5.3 | C | 99.88 | 10.6
92 | 1" ELBOW 90 DEG - PVC40 | 10 | 97.97 | C | 22 | C | 9.797 | 2.2
93 | 1 1/4" ELBOW 90 DEG - PVC40 | 10 | 140.44 | C | 26 | C | 14.044 | 2.6
94 | 1" COUPLING - PVC | 20 | 0.38 | E | 0 | C | 7.6 | 0
95 | 1 1/4" COUPLING - PVC | 20 | 38.23 | C | 0 | C | 7.646 | 0
96 | 3/4" ADAPTER MALE - PVC | 2 | 35.51 | C | 10 | C | 0.7102 | 0.2
97 | 1" ADAPTER MALE - PVC | 10 | 0.55 | E | 12 | C | 5.5 | 1.2
98 | 1 1/4" ADAPTER MALE - PVC | 10 | 0.79 | E | 14 | C | 7.9 | 1.4
99 | 1" ADAPTER FEM - PVC | 10 | 51.15 | C | 12 | C | 5.115 | 1.2
100 | 1 1/4" ADAPTER FEM - PVC | 10 | 68.44 | C | 14 | C | 6.844 | 1.4
104 | #12 THHN BLACK | 16000 | 107.81 | M | 5.15 | M | 1724.96 | 82.4
105 | #10 THHN Black | 26500 | 164.87 | M | 5.65 | M | 4369.055 | 149.725
106 | # 8 THHN Black | 15681 | 266.8 | M | 7 | M | 4183.6908 | 109.767
107 | # 4 THHN Black | 1230 | 615.08 | M | 10.2 | M | 756.5484 | 12.546
108 | # 3 THHN Black | 115 | 775.79 | M | 11.9 | M | 89.2159 | 1.3685
109 | # 2 THHN BLACK | 1210 | 971.06 | M | 12.4 | M | 1174.9826 | 15.004
110 | # 1 THHN Black | 50 | 1220.65 | M | 13.5 | M | 61.0325 | 0.675
111 | #1/0 THHN BLACK | 100 | 1494.47 | M | 14.2 | M | 149.447 | 1.42
112 | #4/0 THHN Black | 2340 | 2900.11 | M | 21.6 | M | 6786.2574 | 50.544
113 | #300 MCM THHN BLACK | 200 | 4030.07 | M | 27.8 | M | 806.014 | 5.56
114 | #500 MCM THHN BLACK | 452 | 6782.75 | M | 38.8 | M | 3065.803 | 17.5376
115 | #12/2C SOLID CABLE MC - STL ARMOR | 2151 | 440.37 | M | 17.4 | M | 947.2359 | 37.4274
116 | #10/2C SOLID CABLE MC - STL ARMOR | 24 | 939.76 | M | 21 | M | 22.5542 | 0.504
117 | #12/3C SOLID CABLE MC - STL ARMOR | 725 | 746.86 | M | 19 | M | 541.4735 | 13.775
118 | #12/2C CORD - SOW | 52 | 769.34 | M | 26.4 | M | 40.0057 | 1.3728
119 | 3/8" CONN SADDLEGRIP DC FOR FLEX / AC-90 / MC | 496 | 48.23 | C | 6 | C | 239.2208 | 29.76
120 | 1/2" CONN SADDLEGRIP DC FOR FLEX / AC-90 / MC | 78 | 1.6 | E | 9 | C | 124.8 | 7.02
121 | 3/4" CONN SADDLEGRIP DC FOR FLEX / AC-90 / MC | 58 | 3.93 | E | 12 | C | 227.94 | 6.96
122 | COMPRESSION LUG - CU W/ 1- 9/32" HOLE - # 4 CU WIRE | 4 | 3.25 | E | 15 | C | 13 | 0.6
123 | COMPRESSION LUG - CU W/ 1- 13/32" HOLE - #3/0 CU WIRE | 4 | 2.64 | E | 28 | C | 10.56 | 1.12
124 | COMPRESSION LUG - CU W/ 2- 9/32" HOLE - # 4 CU WIRE | 5 | 3.5 | E | 15 | C | 17.5 | 0.75
125 | COMPRESSION LUG - CU W/ 2- 9/32" HOLE - # 1 CU WIRE | 4 | 4.5 | E | 20 | C | 18 | 0.8
126 | COMPRESSION LUG - CU W/ 2- 13/32" HOLE - #4/0 CU WIRE | 4 | 9 | E | 30 | C | 36 | 1.2
127 | COMPRESSION LUG - CU W/ 2- 9/16" HOLE - #300 CU WIRE | 16 | 16 | E | 38 | C | 256 | 6.08
128 | KS22 # 6 STRD TO # 2 SOL CU SPLIT BOLT CONNECTOR | 4 | 5 | E | 28 | C | 20 | 1.12
129 | WIRE CONN YEL | 870 | 9.42 | C | 5 | C | 81.954 | 43.5
130 | WIRE CONN RED | 1696 | 11.52 | C | 2 | C | 195.3792 | 33.92
131 | 1/8" POLYTWINE | 1450 | 30 | M | 3 | M | 43.5 | 4.35
132 | 4x 1 1/2" OCT BOX 1/2" KO | 21 | 88.74 | C | 22 | C | 18.6354 | 4.62
133 | 4x 1 1/2" OCT BOX 1/2" KO W/ RCSD SIDE BRKT | 29 | 1.31 | E | 22 | C | 37.99 | 6.38
134 | 4x 1 1/2" OCT BOX 1/2" KO W/ BAR HNGR | 71 | 14.44 | E | 22 | C | 1025.24 | 15.62
135 | 4x 1 1/2" OCT BOX AC-90 CLAMP W/ BAR HNGR | 63 | 1.71 | E | 22 | C | 107.73 | 13.86
136 | 4" OCT BLANK COVER | 29 | 37.77 | C | 2.5 | C | 10.9533 | 0.725
137 | 4x 1 1/2" SQ BOX COMB KO | 600 | 64.87 | C | 23 | C | 389.22 | 138
138 | 4x 1 1/2" SQ BOX COMB KO W/ FLUSH SIDE MNT BRKT | 72 | 7.15 | E | 23 | C | 514.8 | 16.56
139 | 4x 1 1/2" SQ BOX COMB KO W/ FLUSH MTL STUD BRKT | 27 | 114.28 | C | 23 | C | 30.8556 | 6.21
140 | 4x 2 1/8" SQ BOX COMB KO | 15 | 107.6 | C | 23 | C | 16.14 | 3.45
141 | 4" SQ 1G PLSTR RING 5/8" RISE | 139 | 1.21 | E | 2.5 | C | 168.19 | 3.475
142 | 4" SQ 2G PLSTR RING 5/8" RISE | 6 | 50.35 | C | 2.5 | C | 3.021 | 0.15
143 | 4" SQ BLANK COVER | 488 | 27.19 | C | 2.5 | C | 132.6872 | 12.2
144 | 4 11/16x 2 1/8" SQ BOX COMB KO | 151 | 2.43 | E | 25 | C | 366.93 | 37.75
145 | 4 11/16x 2 1/8" SQ BOX 1" KO | 76 | 245.42 | C | 25 | C | 186.5192 | 19
146 | 4 11/16" SQ BLANK COVER | 91 | 62.1 | C | 2.5 | C | 56.511 | 2.275
147 | 4 11/16" SQ 1G PLSTR RING 5/8" RISE | 136 | 1.05 | C | 2.5 | C | 1.428 | 3.4
148 | 4 11/16" SQ 2G PLSTR RING 5/8" RISE | 81 | 3 | E | 2.5 | C | 243 | 2.025
149 | 1G 2"D DC ALUM BOX W/ LUGS & 3x 3/4" HUBS GRY | 42 | 473.53 | C | 0.35 | E | 198.8826 | 14.7
150 | 1G ALUM BLANK WP BOX MNT COVER GRY | 21 | 1 | E | 0.07 | E | 21 | 1.47
151 | 1G VERT MNT STD DEPTH WP TOGGLE SW CVR | 21 | 19.63 | E | 0.07 | E | 412.23 | 1.47
152 | GROUND SCREW W/ INSUL #12 LEAD | 209 | 385.64 | M | 3 | C | 80.5988 | 6.27
153 | RFB4 4 Gang Floor Box | 10 | 167.43 | E | 1.5 | E | 1674.3 | 15
154 | DURA BLOCK DB2318 12" X 14" | 144 | 305.52 | E | 0.33 | E | 43994.88 | 47.52
155 | 6" Wx 2" D WIRE MESH CABLE TRAY - ZINC PLTD | 620 | 0 | C | 5.7 | C | 0 | 35.34
156 | 12" Wx 2" D WIRE MESH CABLE TRAY - ZINC PLTD | 100 | 0 | C | 8.1 | C | 0 | 8.1
157 | HARDWARE KIT FOR 1-TEE OR 2-90s | 12 | 0 | E | 0.6 | E | 0 | 7.2
158 | UNIVERSAL BOLT-ON SPLICE BAR - 10.75" LONG | 72 | 0 | C | 5 | C | 0 | 3.6
159 | 6" WIDE TRAY- FORM 90 DEG BEND | 3 | 0 | E | 0.45 | E | 0 | 1.35
160 | 3/4"x 10' GALV GRD ROD | 2 | 1815.38 | C | 1 | E | 36.3076 | 2
161 | BURNDY GAR6426 5/8-3/4" Rod TO #2/0 STR | 1 | 40 | E | 0.8 | E | 40 | 0.8
162 | BURNDY GAR6429 5/8-3/4" Rod TO #250 STR | 1 | 55.47 | E | 0.9 | E | 55.47 | 0.9
163 | Grn Buss Gr 1/4" X 2" X 15" Erico EGBA14215TES | 1 | 120 | E | 1 | E | 120 | 1
164 | #10x 1 P/H SELF-TAP SCREW | 3500 | 0 | C | 3 | C | 0 | 105
165 | #8x 1/2 WAFER HEAD SHEET MTL SCREW | 108 | 0 | C | 1.5 | C | 0 | 1.62
166 | BEAM CLAMP FOR 1/2-13 ROD OR STRUT END TO 1" FLNG | 84 | 5 | E | 10 | C | 420 | 8.4
167 | #12 CEILING WIRE | 2050 | 8 | C | 0.75 | C | 164 | 15.375
168 | Misc. Hardware | 1051 | 1 | E | 0.01 | E | 1051 | 10.51
169 | 1G TGL SWITCH PLATE - PLASTIC IVY | 13 | 0.4 | E | 3 | C | 5.2 | 0.39
170 | 2G TGL SWITCH PLATE - PLASTIC IVY | 6 | 0.77 | E | 4.5 | C | 4.62 | 0.27
171 | 1G SINGLE REC PLATE - PLASTIC IVY | 4 | 0.64 | E | 3 | C | 2.56 | 0.12
172 | 1G DUPLEX REC PLATE - PLASTIC IVY | 92 | 0.35 | E | 2.7 | C | 32.2 | 2.484
173 | 2G DUPLEX REC PLATE - PLASTIC IVY | 81 | 0.67 | E | 3.9 | C | 54.27 | 3.159
174 | 1G DECORATOR PLATE - PLASTIC IVY | 1 | 0.7 | E | 3 | C | 0.7 | 0.03
175 | Blue Face Plate | 2 | 4.25 | E | 3 | C | 8.5 | 0.06
176 | 20A 120-277V S/P SW - TOGGLE IVY (SG) | 22 | 7.34 | E | 14 | C | 161.48 | 3.08
178 | DIMMER SW | 23 | 50 | E | 30 | C | 1150 | 6.9
179 | Wall OCC Switch | 1 | 40 | E | 0.6 | E | 40 | 0.6
180 | CEILING OCC SENSOR | 21 | 65 | E | 0.6 | E | 1365 | 12.6
181 | 20A 250V 4W 3PH REC - BLK (SG) | 4 | 20 | E | 26 | C | 80 | 1.04
182 | 20A 125V DUP REC - IVY (SG) | 254 | 2.66 | E | 20 | C | 675.64 | 50.8
183 | 20A 125V DUP REC - BLUE | 12 | 18.56 | E | 20 | C | 222.72 | 2.4
184 | 20A 125V DUP REC - GFCI IVY (SG) | 1 | 15.98 | E | 25 | C | 15.98 | 0.25
185 | 20A 125V 3W STRAIGHT PLUG - BLK (SG) | 13 | 20 | E | 0.22 | E | 260 | 2.86
186 | BPB RECEIVING AND UNLOAD | 11 | 0 | E | 2 | E | 0 | 22
187 | BPB PUT INTO PLACE | 11 | 0 | E | 6 | E | 0 | 66
188 | 30A 250V DSN SW FUSIBLE - NEMA 1 | 2 | 67.93 | E | 1.1 | E | 135.86 | 2.2
189 | TRANSFORMER RECEIVE AND UNLOAD | 1 | 0 | E | 4 | E | 0 | 4
190 | TRANSFORMER PUT INTO PLACE | 1 | 0 | E | 8 | E | 0 | 8
191 | # 8 WIRE POWER TERM | 1588 | 0.8 | E | 0.14 | E | 1270.4 | 222.32
192 | # 4 WIRE POWER TERM | 15 | 1.25 | E | 0.21 | E | 18.75 | 3.15
193 | # 3 WIRE POWER TERM | 2 | 1.25 | E | 0.23 | E | 2.5 | 0.46
194 | # 2 WIRE POWER TERM | 24 | 1.25 | E | 0.25 | E | 30 | 6
195 | # 1 WIRE POWER TERM | 4 | 1.25 | E | 0.29 | E | 5 | 1.16
196 | #4/0 WIRE POWER TERM | 28 | 1.25 | E | 0.43 | E | 35 | 12.04
197 | #300 WIRE POWER TERM | 16 | 1.25 | E | 0.51 | E | 20 | 8.16
198 | #500 WIRE POWER TERM | 8 | 1.25 | E | 0.63 | E | 10 | 5.04
199 | 8' WRAP-AROUND LED | 18 | 0 | E | 1.2 | E | 0 | 21.6
200 | 4' STRIP LED | 18 | 0 | E | 0.4 | E | 0 | 7.2
201 | 8' STRIP LED | 33 | 0 | E | 0.6 | E | 0 | 19.8
202 | DEMO FIXTURE 2' x 2' RCSD | 25 | 0 | E | 0.25 | E | 0 | 6.25
203 | DEMO RECEPTACLE | 19 | 0 | E | 0.2 | E | 0 | 3.8
204 | DEMO SWITCH | 8 | 0 | E | 0.15 | E | 0 | 1.2
205 | DEMO TEL/DATA OUTLET | 1 | 0 | E | 0.2 | E | 0 | 0.2
206 | Connect Existing conduit & Wire to new Panel | 2 | 60 | E | 12 | E | 120 | 24
207 | Relocate T UPS-P2 | 1 | 30 | E | 10 | E | 30 | 10
208 | Core Drill Floor | 5 | 0 | E | 6 | E | 0 | 30
209 |  |  |  | E |  | E | 0 | 0
210 |  |  |  | E |  | E | 0 | 0
Quoted Materials
| Description | QTY | Quote | Unit | Labor | Unit | Total Quotes | Total Hours | Vendor
1 | Lighting Quote | 1 | 97530 | E | 4 | E | 97530 | 4
2 | Gear Quote | 1 | 27118 | E | 4 | E | 27118 | 4
3 | Basket Tray Quote | 1 | 5000 | E | 4 | E | 5000 | 4
|  |  | Totals Section |  | Bulk Material |  | 102816.1503 | 3034.3096 | Crew Transportation Cost
| Markups and tax rate can be adjusted to fit your needs |  |  |  | Markup | 15% | 15422.4225 | 3186.0251 | Job man-hours
| Mileage and fuel cost (to and from the job) can be adjusted |  |  |  | Quoted Material |  | 129648 | 4 | Number of men on job
[5 empty] | Markup | 10% | 12964.8 | 2 | number of trucks
[5 empty] | SUB Total |  | 260851.3728 | 39.8253 | Truck days
[5 empty] | Tax | 9% | 23476.6236 | 40 | Round trip Miles
[5 empty] | Total Material |  | 284327.9964 | 2.5 | Estimated fuel Cost per gallon
[5 empty] | ADJUST THIS RATE TO SUIT YOUR NEEDS |  |  | 12 | Estimated miles per gallon
| Direct Labor |  | Man Hours |  | Rate |  | Total | 5286.852 | Truck fuel Cost
| Composite Labor Rate |  | 3034.3096 |  | 40 |  | 121372.384 |  | Suppliers & Subcontractors | Quote
| This rate can be adjusted to fit your needs, most clients use their average wage labor cost times two, but this can be adjusted | [6 empty] | LIGHTING
| Indirect Labor | % | % of MH |  | Rate |  | Total
| Project Manager | 5% | 151.7155 |  | 45 |  | 6827.1966
| This rate and percentage can be adjusted to fit your needs, for unproductive labor | [6 empty] | GEAR
| Incidental Labor |  | Man Hours |  | Rate |  | Total
| Travel Time |  |  |  | 34 |  | 0
This rate can be adjusted to fit your needs, For unusual labor at a rate different from above
| Sub Contractor |  | Quote |  |  | Markup | Total | Fire Alarm
| Fire Alarm |  | 0 |  |  | 10% | 0
| Voice Data |  | 0 |  |  | 10% | 0
| Acceptance Testing |  | 0 |  |  | 10% | 0 | Voice Data
| Security Access |  | 0 |  |  | 10% | 0
0
Acceptance
| General Expenses | QTY |  |  | Cost |  | Total
| Permit | 1 |  |  | 1500 |  | 1500
| Temporary Power | 1 |  |  | 1500 |  | 1500 | Access
| Site Gas | 1 |  |  | 5286.852 |  | 5286.852
| Rental Equipment Transportation | 0 |  |  | 200 |  | 0
|  | 0 |  |  | 0 |  | 0
| These cost or other expenses should be reviewed |  |  |  | Total |  | 8286.852
| Equipment | QTY | Cost |  | Sub Total | % | Total
| Excavator By The Day |  |  |  | 0 | 10% | 0 | 0 | Fuel
| Packer By The |  |  |  | 0 | 10% | 0 | 0 | Fuel
| Forklift By The |  |  |  | 0 | 10% | 0 | 0 | Fuel
| Man lift By The |  |  |  | 0 | 10% | 0 | 0 | Fuel
| Rental equipment needed and their cost should be reviewed and adjusted | [5 empty] | 0 | 0 | Estimated Equipment Fuel cost
| Total Material | [5 empty] | 284327.9964
| Direct Labor | [5 empty] | 121372.384
| Indirect Labor | [5 empty] | 6827.1966
| Incidental Labor | [5 empty] | 0
| Sub Contractor | [5 empty] | 0
| General Expenses | [5 empty] | 8286.852
| Equipment | [5 empty] | 0
Estimate cost or any other added cost, plus or minus
[5 empty] | Total Job |  | 420814.429
Alternates
NA
Exceptions and clarifications
1 | I do not know the distance or obstacles between SWBD DS-PHA on the roof and new L2DP. I have assumed 100'
2 | Panels EP2E and EL2E are to be tied into existing wire and conduit, It is not shown how these conduits have become existing. No panel Demolition is shown.
3 | Existing Transformer EP2C3 is shown as existing to be relocated. From where? Where is the underfloor pull box in comparison to the new transformer location
I have assumed not over 60'
4 | Several New Panels are shown on the one line that are not listed with panel schedules but there size is listed on the one line. There are some panels with
no indication of their size. Panels UPS-P and UPS P2E I have used their feeder wire size to size these panels.
Exceptions from Vendors
1 | There was a 400A breaker for a unidentified panel A Allowance of $3,700.00 for the breaker and $750 for the supporting hardware
2 | There was no panel schedual for panel P2E was made.
3 | For Lighting some incomplete and /or invalid Part numbers were supplied some fixtures subject to approval
4 | Special mounting hardware was not identifed and is not included in this quote
Vendor Quotes are attached see complete qualifications

## Instructions
Instructions to make this worksheet fit your own needs and conditions
Title Area
Bid # | For Internal use to identify project.
Bid Worksheet | Job Name
SQ FT Cells | Mainly for internal use, Helps us get base lines on future similar Projects
Bulk Materials
Description | This describes the parts and materials found in the takeoff process of compiling this estimate. Materials are not always described in the same
by different estimators. If you have questions identifying some parts by their description please contact us. Contractor can change description if
needed.
Quantity | Number of items counted. Great care has been taken to capture and count all items found on the drawings, but the drawings do not always match
the real conditions found on the job. This should however give you good cost of material necessary to construct this project.
Trade Price | Cost of materials. Material prices change from month to month even day to day for some items and are different for different suppliers, different
parts of the country and for different quantity's of these materials. These are generally counter prices kept as current as possible. These cells can be
edited if the contractor has a different cost, or reduced if these items are in company surplus stock, or changed for any other reason.
Unit | E= Each, Ft, C = Hundreds M = Thousands
Labor | Labor units are based on 80% of NECCA at normal conditions Some labor units have been adjusted from there or did not fit into a base line and
were adjusted by our considerable experience. These cells can be adjusted if contractor feels his labor rate for a particular item is different.
Unit | E= Each, Ft, C = Hundreds M = Thousands
Total Material | Total material cost for this item at stated quantity ( Do not attempt to edit this Colum).
Total Labor | Total labor cost for this item at stated quantity ( Do not attempt to edit this Colum).
Vendor | This column is sometimes used if some bulk materials quoted by a specific vendor or if included in the bulk price or unit price such a "Misc. Hardware".
"Notes for this | All items highlighted yellow means that their cost is contained in the quoted material section or in a unit price such a "Misc. Hardware". On Labor
Section" | items, the yellow highlight means no labor related to this item or labor performed by others, material cost only.
Quoted Material
Description | This describes the units being priced such as Lighting, Gear, Etc. These are usually specialized materials that need to be quoted to get accurate quotes
We will get these quotes from your favored electrical supplier's in your area, National suppliers, Or we can find suppliers in your area to quote these
items. If you are successful in winning this bid, It is important to try and use these vendors to purchase this material they have gone through a great
deal of cost to work up these quotes, If we ignore these efforts we may not be able to get the best pricing on future estimates.
Quantity | Usually 1 time
Quote | Quoted price. We generally use the lowest quoted price, sometime the low price is incomplete or does not cover all parts necessary for a complete assembly
If low price is not selected by us a explanation will be stated in the notes at the bottom of this worksheet. The contractor can if he wishes use the quoted price
of any of the vendors listed or pricings he has obtained independent of this document
Unit | Usually Each
Labor | The labor to install these quoted items are usually listed above in the unit pricing area. Labor here is generally for unloading and stockpiling these items.
Unit | Usually Each
Total Quote | Total of this item
Total Labor | Total of this item
Vendor | Vendor selected "See vendor selection area"
TOTALS SECTION
Bulk Materials | This is the total cost of the bulk materials listed above. This cell should not be edited
Mark Up | There are two cells in this line the first is the "percent of markup" it is listed as a default of 15% This can be edited to any percent you choose based on your
circumstances. Markup should include all cost in procuring materials plus expected profit on these materials. The second cell is the total of this markup
based on the default or your chosen rate of markup. This cell should not be edited
Quoted Materials | This is the total cost of the quoted materials listed above. This cell should not be edited.
Mark Up | There are two cells in this line the first is the "percent of markup" it is listed as a default of 10%. The quoted material is usually at a lower rate because
there is less risk that the cost and amounts of these materials are not accurate. your
This rate can be edited to any percent you choose based on your circumstances.
The second cell is the total of this markup based on the default or your chosen rate of markup. This cell should not be edited.
Sub Total | Total before taxes.
Tax | Two cells listed here the first cell is for tax rate. If you have not provided us with a tax rate for your area a default rate of 9% is used this can be changed
to the tax rate that you pay in your area. If this is a tax exempt project a zero can be inserted. The second cell is the total of the tax based on the tax
rate chosen. This cell should not be edited.
Total Material | The total cost with markups and taxes for all materials needed for this project.
Crew Transportation Cost Section
The job man-hours are a total of direct, and Indirect hours and are automatically calculated. Incidental labor is not included in these calculations
These hours do not general fit this description. All editable cells (men on job, number of trucks, round trip miles, fuel cost, and MPG can be adjusted
The main thing is to look at is the total. Is this number higher or lower than you expect or want for this job. All cells can be adjusted to come up with
an acceptable cost. Default numbers have been inserted only as examples and may not be your own.
Direct Labor
Man Hours | Automatically calculated from the bulk and quoted material columns.
Rate | This is the rate charged for direct labor (hours calculated by labor units) Composite Rate: This is a average crew rate calculated by adding the wages of
the crew you think you would use for this job. For a example if you had a two man crew and one man made $30.00 and a second man made $10 per hr.
$30.00 plus $10.00 equals $40.00 Divided by two (2 man crew) would mage the crews average pay or cost at $20 per Hr. Next you would find a multiplier
that works for you. The multiplier covers the cost to employee your crew ( SSI, benefits, Etc.) your overhead and profit. We have found that multipliers usually
run between 1.5 to 2 sometimes higher depending on your company's needs but also by what the market will allow in your area. So if your crew cost was
$20.00 and your multiplier is 2 your Composite rate would be $40.00. Insert that number in that cell. I have used $35 as a default rate feel free to change
that to suit your needs. Remember that experience in bidding will help you adjust your comp rate and markups to make your bids more successful in your
market. Also your crews can be more effect than the average making it possible to lower your comp rate and still be successful. Follow ups on your bids
will help you to get your rates to the place that will win bids on a consistent basis. The Total cell should not be edited.
Indirect Labor
This is for labor not directly chargeable to materials Usually non working supervisor. The first cell is set at percentage of direct labor It can be changed to
any predetermined amount of hours. The next cell is rate it can be changed to any rate you wish.
Incidental Hours
Hours for specific task whether related or not to direct labor. Any rate can be chosen.
Subcontractors
This is for cost of any subcontractor needed for this project. The first cell is for the selected contractors cost. The second is for the markup on their cost
We have chosen 10% as a default rate, change that if you want. If you win the is project, If you are successful in winning this bid, It is important to try
and use these subcontractors to purchase these services as they have gone through a great deal of cost to work up these quotes, If we ignore these efforts
we may not be able to get the best pricing on future estimates.
General Expenses
This is for Misc. expenses, Permit , Temp lighting, Etc. These are generally at set cost and no markup is added. The site fuel cells are automatically set using
the total fuel cost in the crew transportation section and the fuel cost listed to the right of the rental equipment. All General Expense except site fuel cost
can be adjusted to suit your needs
Suppliers and Subcontractors
These columns are on the far right hand side of the worksheet. This is used to tally competing suppliers and subcontractors quotes for different categories
in this project. Remember low price is not always used the completeness and other factors are considered also. See notes at the bottom.
Equipment
This is for rental equipment, Number of pieces, Cost and mark up cells are provided Some example rental rates we have found are listed on the "Rentals
Tab". The area to the right of this is used to calculate fuel cost for this equipment.
Totals
Totals from above. The last cell is editable it can contain the cost of this estimate or any final adjustments plus or minus that you would like to insert at
this time. This is followed by the grand total of the estimate.
Alternates
Alternates to the bid can follow using the same worksheet as above if necessary. If alternates are used another bid with alternate tally will follow.
Exceptions and Clarifications
In this area we will list any exceptions or clarifications that we think you might include in your Witten proposal or at least we feel that you should be aware
of.
For returning Customers if you want to let us know of specific values you always want to use in your estimate for the rates and markups, let us know
we will include this in your quote to save you time analyzing your quote.
Also please remember that all this information that you provide us and that we provide you will be kept with the utmost of privacy. Our business is built
on our confidentiality.
Thank You

## Rentals
RENTALS
| Daily | Weekly | Monthly
Excavators | 230 | 690 | 1980
Trencher | 155 | 620 | 1740
Bobcat | 180 | 540 | 1620
Auger Attachment | 100 | 300 | 900
Packer | 75 | 300 | 900
Slab Saw | 75 | 300 | 900
Breaker | 120 | 480 | 1440
Core Drill | 80 | 320
Sizzor Narrow | 135 | 405 | 1125
Sizzor All Terain | 250 | 750 | 2000
40' Manlift | 250 | 750 | 2115
Reach Forklift | 360 | 1080 | 3150

## UNIT CODES
UNIT CODES | VALUES
E | 1
C | 0.01
M | 0.001